## ADMINISTRATION
Welcome to EVAS - a sustainability assessment tool for small wastewater treatment systems (ver 1.0, 2020)
The EVAS tool (EVAluación de Sostenibilidad) has been developed to support managers of small wastewater treatment systems in low and lower-middle income countries to assess the sustainability of their current system and to provide support to identify ways to improve the sustainability of their systems. It is based on 21 sustainability indicators distributed in five dimensions and was developed as a part of Claudia Cossio Grageda's PhD-project. If you want to use the tool, please make the following reference: Cossio, C., Norrman, J. McConville J., Mattson, A., Mercado, A., 2020. EVAS - a sustainability assessment tool for small wastewater treatment systems, ver 1.0.
The EVAS tool was developed by Claudia Cossio1,2, Jenny Norrman1, Jennifer R. McConville3, Ann Mattson1,4 and Alvaro Mercado2 1Chalmers University of Technology (SE), 2Universidad Mayor de San Simón (BO), 3Swedish Agricultural University (SE), 4Gryyab AB (SE)
Instructions:
1. ADMINISTRATIVE DETAILS: Fill out the general information regarding the WWTS that is being assessed in this sheet.
2. OVERVIEW and WEIGHTING: in sheet OVERVIEW the weights assigned to indicators, sub-indicators and factors can be found. If you consider that another weighting scheme applies to your case, you can change these weights (in the cells marked with a blue frame).
3. SCORING: Enter the answers to the questions on the TEC, ENV, SOC, ECO, and INS sheets by choosing the option that best applies to your case from the drop-down list available for each question. If required for your records, make short notes on the reasoning behind your choice. Scores are calculated automatically.
4. CHECK RESULTS
- In sheets TEC-RES, ENV-RES, SOC-RES, ECO-RES, and INS-RES, the final scores of each dimension and each indicator can be found.
- In sheets FINAL SCORES and RADAR PLOTS the OVERALL SCORE and summary of dimensions and indicators scores can be found.
5. PRIORITIZE ACTIONS
- In the sheet: TO-DO LIST results can be filtered by scores in order to prioritize actions. In the filtering function in column B, choose which scores to investigate, e.g. 0, 1 and 2.
Provide information on the WWTS and the assessment in the blank fields below.
Name of site:
Location:
Treatment steps in the WWTS:
Name of assessors:
Date of assessment:
Version of assessment:

## OVERVIEW
List of sustainability DIMENSIONS, INDICATORS, SUB-INDICATORS and FACTORS, and their respective WEIGHTS (w.) | [5 empty] | Scale of the assessment result
TECHNICAL DIMENSION |  |  |  | DIM. W.: | 1 | SUSTAINABILITY LEVELS | Score | Ranges for the formatting
Technical Indicators | Ind. w. | Sub-indicators | S-ind. w. | Factors | Factor w.
T1. Removal efficiency (RE) | 1 | T1a. BOD | 1 | T1-I. Monitoring RE | 1 | Not possible to assess | 0 | 0
|  | T1b. TSS | 1 | T1-II. Removal efficiency | 2 | UNSUSTAINABLE | 1 | [> 0 and < 1.5]
|  | T1c. TP | 1 | T1-III. Long-term plan RE | 1 | LOW-SUSTAINABILITY | 2 | [≥ 1.5 and < 2.5]
|  | T1d. TN | 1 |  |  | MEDIUM-SUSTAINABILITY | 3 | [≥ 2.5 and < 3.5]
|  | T1e. FC | 1 |  |  | HIGH-SUSTAINABILITY | 4 | [≥ 3.5]
T2. Operation and maintenance (O&M) | 1 | T2a. Pre-treatment | 1 | T2-I. Manuals | 1
|  | T2b. Primary treatment | 1 | T2-II. Short-term O&M | 1
|  | T2c. Secondary treatment | 1 | T2-III. Long-term maintenance | 1 | Scoring scale
|  | T2d. Tertiary treatment | 1 |  |  | Description |  | Score [Values & Colour code]
|  | T2e. Disinfection | 1
T3. Sewer network functionality (SEW) | 1 | - | - | T3-I. Coverage | 2 | [Information not filled in]
|  |  |  | T3.-II Design | 2 | Not implemented
|  |  |  | T3-III. Breakdown | 1 | No information available/Not applicable |  | 0
|  |  |  | T3-IV. Hydraulic loading | 2 | Requirement/Optimal level not fulfilled |  | 1
|  |  |  | T3-V. Clogging | 1 | Requirement/Optimal level partly fulfilled |  | 2
|  |  |  | T3-VI. Long-term plan SEW | 1 | Requirement/Optimal level fulfilled relatively well |  | 3
T4. Reliability of the WWTP | 1 | - | - | T4-I. Design of the WWTP | 2 | Requirement/Optimal level fulfilled |  | 4
|  |  |  | T4-II. Breakdown | 1
|  |  |  | T4-III. Hydraulic loading | 2
|  |  |  | T4-IV. Organic loading | 1
|  |  |  | T4-V. Long-term plan WWTP | 1
|  |  |  | DIM. W.: | 1
Environmental Indicators | Ind. w. | Sub-indicators | S-ind. w. | Factors | Factor w.
E1. Potential safe reuse (SR) | 1 | E1a.Water | 1 | E1-I. Reuse practice | 1
|  | E1b. Sludge | 1 | E1-II. Monitoring SR | 1
|  |  |  | E1-III. Safe reuse limits | 2
|  |  |  | E1-IV. Long-term plan SR | 1
E2. Eutrophication potential (EP) | 1 | E2a. TN | 1 | E2-I. Monitoring EP | 1
|  | E2b. TP | 1 | E2-II. Eutrophication potential | 2
|  |  |  | E2-III. Long-term plan EP | 1
E3. Effluent quality (EQ) | 1 | E3a. BOD | 1 | E3-I. Monitoring QE | 1
|  | E3b. TSS | 1 | E3-II. Discharge limits | 2
|  |  |  | E3-III. Long-term plan QE | 1
E4. Energy | 1 | - | - | E4-I. Energy saving programme | 1
|  |  |  | E4-II. Renewable energy | 1
E5. Global warming potential | 1 | - | - | E5-I. Emissions reduction | -
SOCIAL DIMENSION |  |  |  | DIM. W.: | 1
Social Indicators | Ind. w. | Sub-indicators | S-ind. w. | Factors | Factor w.
S1. Public health risk (PH) | 1 | - | - | S1-I. Exposure | 2
|  |  |  | S1-II. Claims | 1
|  |  |  | S1-III. Long-term plan PH | 1
S2. Public awareness (PA) | 1 | - | - | S2-I. Ecological concerns | 1
|  |  |  | S2-II: Public health concerns | 1
|  |  |  | S2-III. Use of services | 1
|  |  |  | S2-IV. Long-term plan PA | 1
S3. Aesthetics (AES) | 1 | S3a. Smell | 1 | S3-I. Perception | 1
|  | S3b. Noise | 1 | S3-II. Nuisance level | 2
|  | S3c. Visual impact | 1 | S3-III. Long-term plan AES | 1
S4. Public acceptance (PACC) | 1 | - | - | S4-I. Location of the WWTP | 1
|  |  |  | S4-II. Reuse practice | 1
|  |  |  | S4-III. Long-term plan PACC | 1
ECONOMIC DIMENSION |  |  |  | DIM. W.: | 1
Economic Indicators | Ind. w. | Sub-indicators | S-ind. w. | Factors | Factor w.
EC1. Tariffs | 1 | - | - | EC1-I. Tariff structure | 1
|  |  |  | EC1-II. Documentation | 1
|  |  |  | EC1-III. Follow-up | 1
EC2. Operation and maintenance costs | 1 | - | - | EC2-I. Economic requirements | 1
|  |  |  | EC2-II. Long-term investment | 1
|  |  |  | EC2-III. Long-term plan OM | 1
EC3. Affordability (AF) | 1 | - | - | EC3-I. Payment of tariffs | 1
|  |  |  | EC3-II. Payment capacity | 1
|  |  |  | EC3-III. Strategy AF | 1
INSTITUTIONAL DIMENSION |  |  |  | DIM. W.: | 1
Institutional Indicators | Ind. w. | Sub-indicators | S-ind. w. | Factors | Factor w.
I1. Institutional capacity (utility) | 1 | - | - | I1-I. Roles and responsibility | 1
|  |  |  | I1-II. Procedures | 1
|  |  |  | I1-III. Goals of the organization | 1
|  |  |  | I1-IV. Long-term goals | 1
I2. Institutional capacity (higher level) | 1 | I2a. Municipal | 1 | I2-I. Clear roles | 1
|  | I2b. Regional | 1 | I2-II. External support | 1
|  | I2c. National | 1
I3. Staff requirements (SR) | 1 | I3a. Operator | 1 | I3-I. Availability | 1
|  | I3b. Engineer | 1 | I3-II. Level of expertise | 1
|  | I3c. Communicator | 1 | I3-III. Long-term plan SR | 1
|  | I3d. Accountant | 1
|  | I3e. Manager | 1
I4. Employee satisfaction | 1 | - | - | I4-I. Working conditions | 1
|  |  |  | I4-II. Salary level | 1
I5. Communication | 1 | - | - | I5-I. Use of sewer network services | 1
|  |  |  | I5-II. Wastewater utility performance | 1
|  |  |  | I5-III. Warnings regarding exposure risks | 1

## TEC
TECHNICAL INDICATORS
T1. Removal efficiency (RE)
Objective: To achieve as high actual removal efficiency as possible of BOD, TSS; TN, TP and FC by the technologies implemented in the WWTP.
INDICATOR SCORE | T1-I. Monitoring RE | 25% | T1-II. Removal efficiency | 50% | T1-III. Long-term plan RE | 25% | SUB-INDICATOR SCORE | [5 empty] | Notes: | Sub-indicator weight
| Factor w. | 1 | Factor w. | 2 | Factor w. | 1
| How frequently do you monitor...in the influent and the effluent? | Score | What is the removal efficiency for …? | Score | If the removal efficiency is low (equivalent to a score of 2 or lower), is there a long-term plan to improve it? | Score
0 | T1a. BOD | 25% | T1a. BOD | 50% | T1a. BOD | 25% | T1a. BOD
|  | b |  | b |  | b | 0 | [6 empty] | 1 |  | 20%
| T1b. TSS | 25% | T1b. TSS | 50% | T1b. TSS | 25% | T1b. TSS
|  | b |  | b |  | b | 0 | [6 empty] | 1 |  | 20%
| T1c. TP | 25% | T1c. TP | 50% | T1c. TP | 25% | T1c. TP
|  | b |  | b |  | b | 0 | [6 empty] | 1 |  | 20%
| T1d. TN | 25% | T1d. TN | 50% | T1d. TN | 25% | T1d. TN
|  | b |  | b |  | b | 0 | [6 empty] | 1 |  | 20%
| T1e. FC | 25% | T1e. FC | 50% | T1e. FC | 25% | T1e. FC
|  | b |  | b |  | b | 0 | [6 empty] | 1 |  | 20%
T2. Operation and maintenance (O&M)
Objective: To implement the operation and maintenance which is required for an optimal performance of the WWTP at all treatment levels
Notes:
INDICATOR SCORE | T2-I. Manuals | 20% | T2-II. Short-term O&M | 40% | T2-III. Long-term maintenance | 40% | Sub-Indicator score | [6 empty] | Sub-indicator weight
| Factor w. | 1 | Factor w. | 2 | Factor w. | 2
| Is there a manual available with clear instructions on how to operate and maintain the … optimally? | Score | Have all the requirements for optimal short-term O&M been fulfilled? | Score | Have all the requirements for optimal long-term maintenance been fulfilled? | Score
0 | T2a. Pre-treatment |  | T2a. Pre-treatment |  | T2a. Pre-treatment |  | T2a. Pre-treatment
|  | b |  | b |  | b | 0 | [6 empty] | 1 | 1 | 20%
| T2b. Primary treatment |  | T2b. Primary treatment |  | T2b. Primary treatment |  | T2b. Primary treatment
|  | b |  | b |  | b | 0 | [6 empty] | 1 | 1 | 20%
| T2c. Secondary treatment |  | T2c. Secondary treatment |  | T2c. Secondary treatment |  | T2c. Secondary treatment
|  | b |  | b |  | b | 0 | [6 empty] | 1 | 1 | 20%
| T2d. Tertiary treatment |  | T2d. Tertiary treatment |  | T2d. Tertiary treatment |  | T2d. Tertiary treatment
|  | b |  | b |  | b | 0 | [6 empty] | 1 | 1 | 20%
| T2e. Disinfection |  | T2e. Disinfection |  | T2e. Disinfection |  | T2e. Disinfection
|  | b |  | b |  | b | 0 | [6 empty] | 1 | 1 | 20%
T3. Sewer network functionality (SEW)
Objective: To achieve an optimal functionality of the sewer network connected to the WWTP.
INDICATOR SCORE | T3-I. Coverage | 22.22% | T3.-II Design | 22.22% | T3-III. Breakdown | 11.11% | T3-IV. Hydraulic loading | 22.22% | T3-V. Clogging | 11.11% | T3-VI. Long-term plan SEW | 11.11% | Notes:
| Factor w. | 2 | Factor w. | 2 | Factor w. | 1 | Factor w. | 2 | Factor w. | 1 | Factor w. | 1
| What is the coverage of the sewer service? | Score | Is the infrastructure designed to prevent blockages and overflows? | Score | How often does wastewater overflow or are properties flooded due to sewer material failure? | Score | How often does wastewater overflow or are properties flooded due to too much water in the network? | Score | How often does wastewater overflow or are properties flooded due to clogging in the network? | Score | If there are issues with the sewer network, is there a long-term plan to improve it? | Score
0 |  | b |  | b |  | b |  | b |  | b |  | b
T4. Reliability of the WWTP
Objective: To achieve a high resilience in the WWTP regarding the performance of the treatment processes.
INDICATOR SCORE | T4-I. Design of the WWTP | 28.57% | T4-II. Breakdown | 14.29% | T4-III. Hydraulic loading | 28.57% | T4-IV. Organic loading | 14.29% | T4-V. Long-term plan WWTP | 14.29% |  |  | Notes:
| Factor w. | 2 | Factor w. | 1 | Factor w. | 2 | Factor w. | 1 | Factor w. | 1
| Is there a bypass or storage tank to manage overflows or large organic loading? | Score | How often is wastewater not treated due to material failure? | Score | How often is wastewater not treated due to high hydraulic loading? | Score | How often is wastewater not treated due to high organic loading? | Score | If there are issues with the capacity or construction of the WWTP, is there a long-term plan to improve it? | Score
0 |  | b |  | b |  | b |  | b |  | b

## T (hidden)
Technical Indicators
T1. REMOVAL EFFICENCY
Sub-Indicators: BOD, TSS, TN, TP, FC
Score [Values & Colour-coded] | T1-I. Monitoring RE | T1-II. Removal efficiency (BOD, TSS & TP) | T1-II. Removal efficiency (TN) | T1-II. Removal efficiency (FC) | T1-III. Long-term plan RE
| How frequently do you monitor...in the influent and the effluent? | What is the removal efficiency for …? | What is the removal efficiency for …? | What is the removal efficiency for …? | If the removal efficiency is low (equivalent to a score of 2 or lower), is there a long-term plan to improve it?
b
0 | No information | No information | No information | No information | No information
1 | Once a year (or less often) | < 50% | < 10% | ≤ 1 log unit | No
2 | Once every 6 months (or more often) | ≥ 50% and < 80% | ≥ 10% and < 50% | > 1 log unit and ≤ 3 log units | Partly
3 | Once every 3 months (or more often) | ≥ 80% and < 95% | ≥ 50% and < 79% | > 3 log units and ≤ 6 log units | Yes
4 | Once a week (or more often) and the sampling is composite | > 95% | > 79% | > 6 log units | Yes, and we have begun implementing it
n.r.
T2. OPERATION AND MAINTENANCE (O&M)
Sub-Indicators: Pre-treatment, Primary treatment, Secondary treatment, Tertiary treatment, Disinfection
Score [Values & Colour-coded] | T2-I. Manual | T2-II. Short-term O&M | T2-III. Long-term maintenance
| Is there a manual available with clear instructions on how to operate and maintain the … optimally? | Have all the requirements for optimal short-term O&M been fulfilled? | Have all the requirements for optimal long-term maintenance been fulfilled?
b
n.a. | NOT IMPLEMENTED | NOT IMPLEMENTED | NOT IMPLEMENTED
0 | No information | No information | No information
1 | No | No | No
2 | Partly | Partly | Partly
3 | Yes | Yes | Yes
4 | Yes, and it is updated when necessary | Yes, and all activities are documented | Yes, and all activities are documented
T3. SEWER NETWORK FUNCTIONALITY
Score [Values & Colour-coded] | T3-I. Coverage | T3-II. Design | T3-III. Breakdown | T3-IV. Hydraulic loading | T3-V. Clogging | T3-VI. Long-term plan SEW
| What is the coverage of the sewer service? | Is the infrastructure designed to prevent blockages and overflows? | How often does wastewater overflow or are properties flooded due to sewer material failure? | How often does wastewater overflow or are properties flooded due to too much water in the network? | How often does wastewater overflow or are properties flooded due to clogging in the network? | If there are issues with the sewer network, is there a long-term plan to improve it?
b
0 | No information | No information | No information | No information | No information | No information
1 | < 50% | No | More than once a month | More than once a month | More than once a month | No
2 | ≥ 50% and < 75% | Partly | Once a month | Once a month | Once a month | Partly
3 | ≥ 75% and < 90% | Yes | Once every 6 months | Once every 6 months | Once every 6 months | Yes
4 | ≥ 90% and ≤ 100% | Yes and it is improved if necessary | Once a year or less | Once a year or less | Once a year or less | Yes, and we have started implementing it
n.r.
T4. RELIABILITY of the WWTP
Score [Values & Colour-coded] | T4-I. Design of the WWTP | T4-II. Breakdown | T4-III. Hydraulic loading | T4-IV. Organic loading | T4-V. Long-term plan WWTP
| Is there a bypass or storage tank to manage overflows or large organic loading? | How often is wastewater not treated due to material failure? | How often is wastewater not treated due to high hydraulic loading? | How often is wastewater not treated due to high organic loading? | If there are issues with the capacity or construction of the WWTP, is there a long-term plan to improve it?
b
0 | No information | No information | No information | No information | No information
1 | No | Once a week | Once a week | Once a week | No
2 | Only a bypass | Once a month | Once a month | Once a month | Partly
3 | Yes, both | Once every 3 months | Once every 3 months | Once every 3 months | Yes
4 | Yes, both and they are automated | Once every 6 months or less | Once every 6 months or less | Once every 6 months or less | Yes, and we have begun implementing it
n.r.

## TEC-RES
RESULTS
TECHNICAL INDICATORS
[26 empty] | INDICATORS | SCORES | 1 | % | DIMENSION SCORE
[26 empty] | T1. Removal efficiency (RE) | 0 | 1 | 25% | 0
[26 empty] | T2. Operation and maintenance (O&M) | 0 | 1 | 25%
[26 empty] | T3. Sewer network functionality (SEW) | 0 | 1 | 25%
[26 empty] | T4. Reliability of the WWTP | 0 | 1 | 25%
T1. Removal efficiency (RE) |  |  |  | 0 | [21 empty] | T1. Removal efficiency (RE) | 0 |  |  |  | T2. Operation and maintenance (O&M) | 0 | T3. Sewer network functionality (SEW) | 0 | T4. Reliability of the WWTP | 0
[13 empty] | PROPORTION OF SUB-INDICATORS SCORES |  |  |  |  | check |  | Number OF SUB-INDICATORS SCORES |  |  |  |  | check
Sub-indicators scores |  | T1-I. Monitoring RE |  | T1-II. Removal efficiency |  | T1-III. Long-term plan RE |  | No of scores |  |  |  |  | 0 | 1 | 2 | 3 | 4 |  |  | 0 | 1 | 2 | 3 | 4
T1a. BOD | 0 | 0 | b | 0 | b | 0 | b | 3 |  |  |  |  | 100% | 0% | 0% | 0% | 0% | 100% |  | 3 | 0 | 0 | 0 | 0 | 3
T1b. TSS | 0 | 0 | b | 0 | b | 0 | b | 3 |  |  |  |  | 100% | 0% | 0% | 0% | 0% | 100% |  | 3 | 0 | 0 | 0 | 0 | 3
T1c. TP | 0 | 0 | b | 0 | b | 0 | b | 3 |  |  |  |  | 100% | 0% | 0% | 0% | 0% | 100% |  | 3 | 0 | 0 | 0 | 0 | 3
T1d. TN | 0 | 0 | b | 0 | b | 0 | b | 3 |  |  |  |  | 100% | 0% | 0% | 0% | 0% | 100% |  | 3 | 0 | 0 | 0 | 0 | 3
T1e. FC | 0 | 0 | b | 0 | b | 0 | b | 3 |  |  |  |  | 100% | 0% | 0% | 0% | 0% | 100% |  | 3 | 0 | 0 | 0 | 0 | 3
T2. Operation and maintenance (O&M) |  |  |  | 0
[13 empty] | PROPORTION OF SUB-INDICATORS SCORES | [6 empty] | PROPORTION OF SUB-INDICATORS SCORES
Sub-indicators scores |  | T2-I. Manuals |  | T2-II. Short-term O&M |  | T2-III. Long-term maintenance |  | No of scores |  |  |  |  | 0 | 1 | 2 | 3 | 4 |  |  | 0 | 1 | 2 | 3 | 4
T2a. Pre-treatment | 0 | 0 | b | 0 | b | 0 | b | 3 |  |  |  |  | 100% | 0% | 0% | 0% | 0% |  |  | 3 | 0 | 0 | 0 | 0
T2b. Primary treatment | 0 | 0 | b | 0 | b | 0 | b | 3 |  |  |  |  | 100% | 0% | 0% | 0% | 0% |  |  | 3 | 0 | 0 | 0 | 0
T2c. Secondary treatment | 0 | 0 | b | 0 | b | 0 | b | 3 |  |  |  |  | 100% | 0% | 0% | 0% | 0% |  |  | 3 | 0 | 0 | 0 | 0
T2d. Tertiary treatment | 0 | 0 | b | 0 | b | 0 | b | 3 |  |  |  |  | 100% | 0% | 0% | 0% | 0% |  |  | 3 | 0 | 0 | 0 | 0
T2e. Disinfection | 0 | 0 | b | 0 | b | 0 | b | 3 |  |  |  |  | 100% | 0% | 0% | 0% | 0% |  |  | 3 | 0 | 0 | 0 | 0
0
T3. Sewer network functionality (SEW) |  |  |  | 0
[13 empty] | Proportion of factors scores | [6 empty] | Proportion of factors scores
T3-I. Coverage |  | T3.-II Design |  | T3-III. Breakdown |  | T3-IV. Hydraulic loading |  | T3-V. Clogging |  | T3-VI. Long-term plan SEW |  | No of scores | 0 | 1 | 2 | 3 | 4 |  |  | 0 | 1 | 2 | 3 | 4
0 | b | 0 | b | 0 | b | 0 | b | 0 | b | 0 | b | 6 | 83.33% | 0% | 0% | 0% | 0% |  |  | 5 | 0 | 0 | 0 | 0
T4. Reliability of the WWTP |  |  |  | 0
[13 empty] | Proportion of factors scores | [6 empty] | Proportion of factors scores
T4-I. Design of the WWTP |  | T4-II. Breakdown |  | T4-III. Hydraulic loading |  | T4-IV. Organic loading |  | T4-V. Long-term plan WWTP |  | No of scores |  |  | 0 | 1 | 2 | 3 | 4 |  |  | 0 | 1 | 2 | 3 | 4
0 | b | 0 | b | 0 | b | 0 | b | 0 | b | 5 |  |  | 80% | 0% | 0% | 0% | 0% |  |  | 4 | 0 | 0 | 0 | 0
All for overall graph
[10 empty] | Total no of scores | [9 empty] | 0 | 1 | 2 | 3 | 4
[10 empty] | 38 | [8 empty] | No | 39 | 0 | 0 | 0 | 0 | 39
[19 empty] | % | 100% | 0% | 0% | 0% | 0% | 100%

## ENV
ENVIRONMENTAL INDICATORS
E1. Potential safe reuse (SR)
Objective: To achieve a safe reuse of both water and sludge from the WWTP.
INDICATOR SCORE | E1-I. Reuse practice | 20% | E1-II. Monitoring SR | 20% | E1-III. Safe reuse limits | 40% | E1-IV. Long-term plan SR | 20% | SUB-INDICATOR SCORE | Notes: | Sub-indicator weight
| Factor w. | 1 | Factor w. | 1 | Factor w. | 2 | Factor w. | 1
| Is there a reuse practice of the ...? | Score | How frequently do you monitor the quality of the … that is reused? | Score | If you monitor, do the results comply with the limits for safe reuse? Water: 3 log units UFC/L for FC Sludge: 1 egg/g of total dry solids | Score | If limits are not met in at least 70% of the samples for ..., is there a plan to improve the quality of the effluent? | Score
0 | E1a.Water | 20% | E1a.Water | 20% | E1a.Water | 40% | E1a.Water | 20% | E1a.Water
|  | b |  | b |  | b |  | b | 0 |  | 1 | 50%
| E1b. Sludge | 20% | E1b. Sludge | 20% | E1b. Sludge | 40% | E1b. Sludge | 20% | E1b. Sludge
|  | b |  | b |  | b |  | b | 0 |  | 1 | 50%
E2. Eutrophication potential (EP)
Objective: To achieve a low release of nutrients (TN, TP) from the WWTP, corresponding to discharge limits.
INDICATOR SCORE | E2-I. Monitoring EP | 25% | E2-II. Eutrophication potential | 50% | E2-III. Long-term plan EP | 25% | SUB-INDICATOR SCORE |  |  | Notes: | Sub-indicator weight
| Factor w. | 1 | Factor w. | 2 | Factor w. | 1
| How frequently do you monitor...in the effluent? | Score | If you monitor, do the results comply with the limits (15 mg/L for TN and 2 mg/L for TP)? For more frequent monitoring (at least once a month), it is sufficient that the annual mean value reaches the limits. For less frequent monitoring, each individual observation needs to be considered. | Score | If limits are not met in at least 70% of the samples for…, is there a long-term plan to upgrade the treatment processes? | Score
0 | E2a. TN | 25% | E2a. TN | 50% | E2a. TN | 25% | E2a. TN
|  | b |  | b |  | b | 0 |  |  |  | 1 | 50%
| E2b. TP | 25% | E2b. TP | 50% | E2b. TP | 25% | E2b. TP
|  | b |  | b |  | b | 0 |  |  |  | 1 | 50%
E3. Effluent quality (EQ)
Objective: To fulfill the target levels for BOD and TSS in the effluent.
INDICATOR SCORE | E3-I. Monitoring QE | 25% | E3-II. Discharge limits | 50% | E3-III. Long-term plan QE | 25% | SUB-INDICATOR SCORE |  |  | Notes: | Sub-indicator weight
| Factor w. | 1 | Factor w. | 2 | Factor w. | 1
| How frequently do you monitor...in the effluent? | Score | If you monitor, do the results comply with the limits for safe discharge (80mg/L for BOD and 60 mg/L for TSS)? For more frequent monitoring (at least once a month), it is sufficient that the annual mean value reaches the limits. For less frequent monitoring, each individual observation needs to be considered. | Score | If limits are not met in at least 70% of the samples for ..., is there a long-term plan to improve the quality of the effluent? | Score
0 | E3a. BOD | 25% | E3a. BOD | 50% | E3a. BOD | 25% | E3a. BOD
|  | b |  | b |  | b | 0 |  |  |  | 1 | 50%
| E3b. TSS | 25% | E3b. TSS | 50% | E3b. TSS | 25% | E3b. TSS
|  | b |  | b |  | b | 0 |  |  |  | 1 | 50%
E4. Energy
Objective: To minimize the non-renewable energy consumption in the WWTP.
INDICATOR SCORE | E4-I. Energy saving programme | 50% | E4-II. Renewable energy | 50% | [5 empty] | Notes:
| Factor w. | 1 | Factor w. | 1
| Do you have an implemented plan to save energy at the WWTP? | Score | Do you reuse the energy generated by the treatment processes (i.e. biogas)? | Score
0 |  | b |  | b
E5. Global warming potential
Objective: To minimize the greenhouse gases emissions from the WWTP.
INDICATOR SCORE | E5-I. Emissions reduction | 100% | [7 empty] | Notes:
| Factor w. | 1
| Do you have an implemented programme to reduce emissions? | Score
0 |  | b

## E (hidden)
Environmental Indicators
E1. Potential safe reuse (SR)
Sub-Indicators: Water and sludge
Score [Values & Colour-coded] | E1-I. Reuse practice | E1-II. Monitoring SR | E1-III. Safe reuse limits | E1-IV. Long-term plan SR
| Is there a reuse practice of the ...? | How frequently do you monitor the quality of the … that is reused? | If you monitor, do the results comply with the limits for safe reuse? Water: 3 log units UFC/L for FC Sludge: 1 egg/g of total dry solids | If limits are not met in at least 70% of the samples for ..., is there a plan to improve the quality of the effluent?
Water
b
0 | No information | No information | No information | No information
1 | No | Once a year (or less often) | No | No
2 | Sometimes | Once every 6 months (or more often) | Limits met in ≥ 50% of the samples | Partly
3 | Always | Once every 3 months (or more often) | Limits met in ≥ 70% of the samples | Yes
4 | Always and there are records | Once a week (or more often) and the sampling is composite | Limits met in 100% of the samples | Yes, and we have begun implementing it
n.r.
Sludge
b
0 | No information | No information | No information | No information
1 | No | Once a year | No | No
2 | Sometimes | Twice a year | Limits met in ≥ 50% of the samples | Partly
3 | Always | Every 6 months | Limits met in ≥ 70% of the samples | Yes
4 | Always and there are records | Once a month or more often | Limits met in 100% of the samples | Yes, and we have begun implementing it
n.r.
E2. Eutrophication potential (EP)
Sub-Indicators: TN and TP
Score [Values & Colour-coded] | E2-I. Monitoring EP | E2-II. Eutrophication potential | E2-III. Long-term plan EP
| How frequently do you monitor...in the effluent? | If you monitor, do the results comply with the limits (15 mg/L for TN and 2 mg/L for TP)? For more frequent monitoring (at least once a month), it is sufficient that the annual mean value reaches the limits. For less frequent monitoring, each individual observation needs to be considered. | If limits are not met in at least 70% of the samples for…, is there a long-term plan to upgrade the treatment processes?
b
0 | No information | No information | No information
1 | Once a year (or less often) | No | No
2 | Once every 6 months (or more often) | Partly, in ≥ 50% of the observations | Partly
3 | Once every 3 months (or more often) | Yes, in ≥ 70% of the observations | Yes
4 | Once a week (or more often) and the sampling is composite | Yes, always | Yes, and we have begun implementing it
n.r.
E3. Effluent quality (EQ)
Sub-Indicators: BOD and TSS
Score [Values & Colour-coded] | E3-I. Monitoring QE | E3-II. Discharge limits | E3-III. Long-term plan QE
| How frequently do you monitor...in the effluent? | If you monitor, do the results comply with the limits for safe discharge (80mg/L for BOD and 60 mg/L for TSS)? For more frequent monitoring (at least once a month), it is sufficient that the annual mean value reaches the limits. For less frequent monitoring, each individual observation needs to be considered. | If limits are not met in at least 70% of the samples for ..., is there a long-term plan to improve the quality of the effluent?
b
0 | No information | No information | No information
1 | Once a year (or less often) | No | No
2 | Once every 6 months (or more often) | Partly, in ≥ 50% of the observations | Partly
3 | Once every 3 months (or more often) | Yes, in ≥ 70% of the observations | Yes
4 | Once a week (or more often) and the sampling is composite | Yes, always | Yes, and we have begun implementing it
n.r.
E4. Energy
Score [Values & Colour-coded] | E4-I. Energy saving programme | E4-II. Renewable energy
| Do you have an implemented plan to save energy at the WWTP? | Do you reuse the energy generated by the treatment processes (i.e. biogas)?
b
0 | No information | No information
1 | No | No
2 | Discussions are taking place | Discussions are taking place
3 | There is a plan | There is a plan
4 | Yes | Yes
E5. Global warming potential
Score [Values & Colour-coded] | E5-I. Emissions reduction
Do you have an implemented programme to reduce emissions?
b
0 | No information
1 | No
2 | Discussions are taking place
3 | There is a plan
4 | Yes

## ENV-RES
RESULTS
ENVIRONMENTAL INDICATORS
[22 empty] | INDICATORS |  | SCORES | Ind. w. | % | DIMENSION SCORE
[22 empty] | E1. Potential safe reuse (SR) |  | 0 | 1 | 20% | 0
[22 empty] | E2. Eutrophication potential (EP) |  | 0 | 1 | 20%
[22 empty] | E3. Effluent quality (EQ) |  | 0 | 1 | 20%
[22 empty] | E4. Energy |  | 0 | 1 | 20%
[22 empty] | E5. Global warming potential |  | 0 | 1 | 20%
E1. Potential safe reuse (SR) |  |  |  | 0 | [17 empty] | E1. Potential safe reuse (SR) | 0 |  | E2. Eutrophication potential (EP) |  |  | 0 | E3. Effluent quality (EQ) | 0 | E4. Energy | 0 | E5. Global warming potential | 0
[10 empty] | NUMBER OF SUB-INDICATORS SCORES |  |  |  |  | No. | PROPORTION OF SUB-INDICATORS SCORES |  |  |  |  | Check
Sub-indicators scores |  | E1-I. Reuse practice |  | E1-II. Monitoring SR |  | E1-III. Safe reuse limits |  | E1-IV. Long-term plan SR |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
E1a.Water | 0 | 0 | b | 0 | b | 0 | b | 0 | b | 4 | 0 | 0 | 0 | 0 | 4 | 100% | 0% | 0% | 0% | 0% | 100%
E1b. Sludge | 0 | 0 | b | 0 | b | 0 | b | 0 | b | 4 | 0 | 0 | 0 | 0 | 4 | 100% | 0% | 0% | 0% | 0% | 100%
E2. Eutrophication potential (EP) |  |  |  | 0
[10 empty] | NUMBER OF SUB-INDICATORS SCORES |  |  |  |  | No. | PROPORTION OF SUB-INDICATORS SCORES |  |  |  |  | Check
Sub-indicators scores |  | E2-I. Monitoring EP |  | E2-II. Eutrophication potential |  | E2-III. Long-term plan EP |  |  |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
E2a. TN | 0 | 0 | b | 0 | b | 0 | b |  |  | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
E2b. TP | 0 | 0 | b | 0 | b | 0 | b |  |  | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
E3. Effluent quality (EQ) |  |  |  | 0
[10 empty] | NUMBER OF SUB-INDICATORS SCORES |  |  |  |  | No. | PROPORTION OF SUB-INDICATORS SCORES |  |  |  |  | Check
Sub-indicators scores |  | E3-I. Monitoring QE |  | E3-II. Discharge limits |  | E3-III. Long-term plan QE |  |  |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
E3a. BOD | 0 | 0 | b | 0 | b | 0 | b |  |  | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
E3b. TSS | 0 | 0 | b | 0 | b | 0 | b |  |  | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
E4. Energy |  |  |  | 0
[10 empty] | NUMBER OF SUB-INDICATORS SCORES |  |  |  |  | No. | PROPORTION OF SUB-INDICATORS SCORES |  |  |  |  | Check
E4-I. Energy saving programme |  | E4-II. Renewable energy | [7 empty] | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
0 | b | 0 | b | [6 empty] | 2 | 0 | 0 | 0 | 0 | 2 | 100% | 0% | 0% | 0% | 0% | 100%
E5. Global warming potential |  |  |  | 0
[10 empty] | NUMBER OF SUB-INDICATORS SCORES |  |  |  |  | No. | PROPORTION OF SUB-INDICATORS SCORES |  |  |  |  | Check
E5-I. Emissions reduction | [9 empty] | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
0 | b | [8 empty] | 1 | 0 | 0 | 0 | 0 | 1 | 100% | 0% | 0% | 0% | 0%
[10 empty] | All |  |  |  |  | No. | All |  |  |  |  | Check
[10 empty] | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
[10 empty] | 23 | 0 | 0 | 0 | 0 | 23 | 100% | 0% | 0% | 0% | 0% | 100%

## SOC
SOCIAL INDICATORS
S1. Public health risk (PH)
Objective: To minimize public health risks due to discharge of poorly treated or not treated wastewater from the WWTP.
INDICATOR SCORE | S1-I. Exposure | 50% | S1-II. Claims | 25% | S1-III. Long-term plan PH | 25% |  |  | Notes
| Factor w. | 2 | Factor w. | 1 | Factor w. | 1
| Are there events involving discharge of poorly treated wastewater or overflow of untreated wastewater? | Score | How frequently have there been claims that people or animals in the surrounding area have been negatively affected by the WWTP or its discharge? | Score | If there are known events involving discharge of poorly treated wastewater or overflow of untreated wastewater more frequently than once a year, or if there are claims at least once a year, is there any long-term plan to reduce the risk? | Score
0 |  | b |  | b |  | b
S2. Public awareness (PA)
Objective: To achieve a high level of public awareness about ecological and public health risks.
INDICATOR SCORE | S2-I. Ecological concerns | 25% | S2-II: Public health concerns | 25% | S2-III. Use of services | 25% | S2-IV. Long-term plan PA | 25% | Notes:
| Factor w. | 1 | Factor w. | 1 | Factor w. | 1 | Factor w. | 1
| How would you rate the level of public awareness of the need for the WWTP to protect ecosystems? | Score | How would you rate the level of public awareness of the need for the WWTP to protect public health? | Score | How would you rate the level of public awareness of adequate use of the sewer network? | Score | If public awareness is low or very low in any respect, is there any long-term plan to raise it? | Score
0 |  | b |  | b |  | b |  | b
S3. Aesthetics (AES)
Objective: To minimize the level of nuisances for users regarding smell, noise and visual impacts from the WWTP.
INDICATOR SCORE | S3-I. Perception | 25% | S3-II. Nuisance level | 50% | S3-III. Long-term plan AES | 25% | SUB-INDICATOR SCORE |  | Notes: | Sub-indicator weight
| Factor w. | 1 | Factor w. | 2 | Factor w. | 1
| Is there information about the nuisance level for customers caused by the WWTP? | Score | What is the actual nuisance level for customers? | Score | If the nuisance level is medium or high, is there any long-term plan to reduce it? | Score
0 | S3a. Smell | 25% | S3a. Smell | 50% | S3a. Smell | 25% | S3a. Smell
|  | b |  | b |  | b | 0 |  |  | 1 | 33.33%
| S3b. Noise | 25% | S3b. Noise | 50% | S3b. Noise | 25% | S3b. Noise
|  | b |  | b |  | b | 0 |  |  | 1 | 33.33%
| S3c. Visual impact | 25% | S3c. Visual impact | 50% | S3c. Visual impact | 25% | S3c. Visual impact
|  | b |  | b |  | b | 0 |  |  | 1 | 33.33%
S4. Public acceptance (PACC)
Objective: To achieve a high level of public acceptance on the location of the WWTP and the reuse practice of water and sludge from the WWTP.
INDICATOR SCORE | S4-I. Location of the WWTP | 33.33% | S4-II. Reuse practice | 33.33% | S4-III. Long-term plan PACC | 33.33% |  |  | Notes:
| Factor w. | 1 | Factor w. | 1 | Factor w. | 1
| Are there people opposed to the location of the WWTP? | Score | Are there people opposed to the practice of reusing wastewater? | Score | If there is opposition or opposition in part to the location of the WWTP, or to reuse practices, is there a long-term plan to increase public acceptance? | Score
0 |  | b |  | b |  | b

## S (hidden)
Social Indicators
S1. Public health risk (PH)
Score [Values & Colour-coded] | S1-I. Exposure | S1-II. Claims | S1-III. Long-term plan PH
| Are there events involving discharge of poorly treated wastewater or overflow of untreated wastewater? | How frequently have there been claims that people or animals in the surrounding area have been negatively affected by the WWTP or its discharge? | If there are known events involving discharge of poorly treated wastewater or overflow of untreated wastewater more frequently than once a year, or if there are claims at least once a year, is there any long-term plan to reduce the risk?
b
0 | No information | No information | No information
1 | Yes, often/once a month | Several times a year | No
2 | Not very often/once every 6 months | At least once a year | Partly
3 | Almost never/once a year | Once every 1 - 5 years | Yes
4 | Never | Never | Yes, and we have begun implementing it
n.r.
S2. Public awareness (PA)
Score [Values & Colour-coded] | S2-I. Ecological concerns | S2-II: Public health concerns | S2-III. Use of services | S2-IV. Long-term plan PA
| How would you rate the level of public awareness of the need for the WWTP to protect ecosystems? | How would you rate the level of public awareness of the need for the WWTP to protect public health? | How would you rate the level of public awareness of adequate use of the sewer network? | If public awareness is low or very low in any respect, is there any long-term plan to raise it?
b
0 | No information | No information | No information | No information
1 | Very low | Very low | Very low | No
2 | Low | Low | Low | Partly
3 | Medium | Medium | Medium | Yes
4 | High | High | High | Yes, and we have begun implementing it
n.r.
S3. Aesthetics (AES)
Sub-Indicators: Smell, noise, visual impact
Score [Values & Colour-coded] | S3-I. Perception | S3-II. Nuisance level | S3-III. Long-term plan AES
| Is there information about the nuisance level for customers caused by the WWTP? | What is the actual nuisance level for customers? | If the nuisance level is medium or high, is there any long-term plan to reduce it?
b
0 | No information | No information | No information
1 | No | High | No
2 | Some | Medium | Partly
3 | Yes | Low | Yes
4 | Yes, and information is collected regularly | None | Yes, and we have begun implementing it
n.r.
S4. Public acceptance (PACC)
Score [Values & Colour-coded] | S4-I. Location of the WWTP | S4-II. Reuse practice | S4-III. Long-term plan PACC
| Are there people opposed to the location of the WWTP? | Are there people opposed to the practice of reusing wastewater? | If there is opposition or opposition in part to the location of the WWTP, or to reuse practices, is there a long-term plan to increase public acceptance?
b
0 | No information | No information | No information
1 | Yes | Yes | No
2 | Partly | Partly | Partly
3 | No | No | Yes
4 | No, and they value the WWTP services | No, they value the benefits of reuse highly | Yes, and we have begun implementing it
n.r.

## SOC-RES
RESULTS
SOCIAL INDICATORS
[22 empty] | INDICATORS |  | SCORES | Ind. w. | % | DIMENSION SCORE
[22 empty] | S1. Public health risk (PH) |  | 0 | 1 | 25% | 0
[22 empty] | S2. Public awareness (PA) |  | 0 | 1 | 25%
[22 empty] | S3. Aesthetics (AES) |  | 0 | 1 | 25%
[22 empty] | S4. Public acceptance (PACC) |  | 0 | 1 | 25%
S1. Public health risk (PH) |  |  |  | 0 | [17 empty] | S1. Public health risk (PH) | 0 |  | S2. Public awareness (PA) |  |  | 0 | S3. Aesthetics (AES) | 0 | S4. Public acceptance (PACC) | 0
[10 empty] | Number of factors scores |  |  |  |  | No | Proportion of factors scores |  |  |  |  | Check
|  | S1-I. Exposure |  | S1-II. Claims |  | S1-III. Long-term plan PH |  |  |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
|  | 0 | b | 0 | b | 0 | b |  |  | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
S2. Public awareness (PA) |  |  |  | 0
[10 empty] | Number of factors scores |  |  |  |  | No | Proportion of factors scores |  |  |  |  | Check
|  | S2-I. Ecological concerns |  | S2-II: Public health concerns |  | S2-III. Use of services |  | S2-IV. Long-term plan PA |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
|  | 0 | b | 0 | b | 0 | b | 0 | b | 4 | 0 | 0 | 0 | 0 | 4 | 100% | 0% | 0% | 0% | 0% | 100%
S3. Aesthetics (AES) |  |  |  | 0
[10 empty] | NUMBER OF SUB-INDICATORS SCORES |  |  |  |  | No | PROPORTION OF SUB-INDICATORS SCORES |  |  |  |  | Check
Sub-indicators scores |  | S3-I. Perception |  | S3-II. Nuisance level |  | S3-III. Long-term plan AES |  |  |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
S3a. Smell | 0 | 0 | b | 0 | b | 0 | b |  |  | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
S3b. Noise | 0 | 0 | b | 0 | b | 0 | b |  |  | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
S3c. Visual impact | 0 | 0 | b | 0 | b | 0 | b |  |  | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
S4. Public acceptance (PACC) |  |  |  | 0
[10 empty] | Number of factors scores |  |  |  |  | No | Proportion of factors scores |  |  |  |  | Check
|  | S4-I. Location of the WWTP |  | S4-II. Reuse practice |  | S4-III. Long-term plan PACC |  |  |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
|  | 0 | b | 0 | b | 0 | b |  |  | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
[10 empty] | All |  |  |  |  | No | All |  |  |  |  | Check
[10 empty] | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
[10 empty] | 19 | 0 | 0 | 0 | 0 | 19 | 100% | 0% | 0% | 0% | 0% | 100%

## ECO
ECONOMIC INDICATORS
EC1. Tariffs
Objective: To achieve a transparent and documented structure for calculating tariffs for different costumers served by the WWTP.
INDICATOR SCORE | EC1-I. Tariff structure | 33.33% | EC1-II. Documentation | 33.33% | EC1-III. Follow-up | 33.33% | Notes:
| Factor w. | 1 | Factor w. | 1 | Factor w. | 1
| Are there clear rules and procedures in place on how to charge different customer categories? | Score | Is there documentation available on the financial management of the WWTP? | Score | Is there a follow-up system to ensure the tariff structure is correct over time? | Score
0 |  | b |  | b |  | b
EC2. Operation and maintenance costs
Objective: To achieve a financial structure where optimal O&M, as well as long-term investments of the WWTP are covered.
INDICATOR SCORE | EC2-I. Economic requirements | 33.33% | EC2-II. Long-term investment | 33.33% | EC2-III. Long-term plan OM | 33.33% | Notes:
| Factor w. | 1 | Factor w. | 1 | Factor w. | 1
| Are there sufficient funds to implement optimal operation and maintenance? | Score | Have funds been allocated for long-term investments? | Score | If no funds are available to implement optimal O&M or allocated for long-term investment, or if this has only been done in part, is there any long-term plan to cover what is required? | Score
0 |  | b |  | b |  | b
EC3. Affordability (AF)
Objective: To achieve a tariff structure that corresponds to the customers’ affordability.
INDICATOR SCORE | EC3-I. Payment of tariffs | 33.33% | EC3-II. Payment capacity | 33.33% | EC3-III. Strategy AF | 33.33% | Notes:
| Factor w. | 1 | Factor w. | 1 | Factor w. | 1
| What percentage of customers pay their tariffs on time? | Score | Is the payment capacity of customers known? | Score | Is there any strategy in place to make the service affordable to everyone, e.g. through subsidies or a tariff differentiated according to level of income, or is there the possibility of paying in-kind? | Score
0 |  | b |  | b |  | b

## EC (hidden)
Economic Indicators
EC1. Tariffs
Score [Values & Colour-coded] | EC1-I. Tariff structure | EC1-II. Documentation | EC1-III. Follow-up
| Are there clear rules and procedures in place on how to charge different customer categories? | Is there documentation available on the financial management of the WWTP? | Is there a follow-up system to ensure the tariff structure is correct over time?
b
0 | No information | No information | No information
1 | No | No | No
2 | There is a fixed tariff | Partly | Partly
3 | Yes, a differentiated tariff | Yes | Yes
4 | Yes, a differentiated tariff that is revised regularly | Yes, monthly and annual reports area available for customers | Yes, and it is documented
EC2. Operation and maintenance costs
Score [Values & Colour-coded] | EC2-I. Economic requirements | EC2-II. Long-term investment | EC2-III. Long-term plan OM
| Are there sufficient funds to implement optimal operation and maintenance? | Have funds been allocated for long-term investments? | If no funds are available to implement optimal O&M or allocated for long-term investment, or if this has only been done in part, is there any long-term plan to cover what is required?
b
0 | No information | No information | No information
1 | No | No | No
2 | Partly | Partly | Partly
3 | Yes | Yes | Yes
4 | Yes, and there is an annualy surplus for emergency cases | Yes, and it is related to an actual plan | Yes, and we have begun implementing it
n.r.
EC3. Affordability (AF)
Score [Values & Colour-coded] | EC3-I. Payment of tariffs | EC3-II. Payment capacity | EC3-III. Strategy AF
| What percentage of customers pay their tariffs on time? | Is the payment capacity of customers known? | Is there any strategy in place to make the service affordable to everyone, e.g. through subsidies or a tariff differentiated according to level of income, or is there the possibility of paying in-kind?
b
0 | No information | No information | No information
1 | 0% | No | No
2 | > 50% | Partly (some information) | Partly
3 | > 70% | Yes | Yes
4 | 100% | Yes, a programme has been implemented to regularly investigate the payment capacity of customers | Yes, and we have begun implementing it

## ECO-RES
RESULTS
ECONOMIC INDICATORS
[18 empty] | INDICATORS | SCORES | Ind. w. | % | DIMENSION SCORE
[18 empty] | EC1. Tariffs | 0 | 1 | 33.33% | 0
[18 empty] | EC2. Operation and maintenance costs | 0 | 1 | 33.33%
[18 empty] | EC3. Affordability (AF) | 0 | 1 | 33.33%
EC1. Tariffs |  | 0 | [15 empty] | EC1. Tariffs | 0 |  | EC2. Operation and maintenance costs |  | 0 | EC3. Affordability (AF) | 0
[6 empty] | Number of factors scores |  |  |  |  | No. | Proportion of factors scores |  |  |  |  | Check
EC1-I. Tariff structure |  | EC1-II. Documentation |  | EC1-III. Follow-up |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
0 | b | 0 | b | 0 | b | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
EC2. Operation and maintenance costs |  |  |  | 0
[6 empty] | Number of factors scores |  |  |  |  | No. | Proportion of factors scores |  |  |  |  | Check
EC2-I. Economic requirements |  | EC2-II. Long-term investment |  | EC2-III. Long-term plan OM |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
0 | b | 0 | b | 0 | b | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
EC3. Affordability (AF) |  | 0
[6 empty] | Number of factors scores |  |  |  |  | No. | Proportion of factors scores |  |  |  |  | Check
EC3-I. Payment of tariffs |  | EC3-II. Payment capacity |  | EC3-III. Strategy AF |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
0 | b | 0 | b | 0 | b | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
[6 empty] | All |  |  |  |  | No. | All |  |  |  |  | Check
[6 empty] | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
[6 empty] | 9 | 0 | 0 | 0 | 0 | 9 | 100% | 0% | 0% | 0% | 0% | 100%

## INS
INSTITUTIONAL INDICATORS
I1. Institutional capacity (utility)
Objective: To achieve a high capacity of the organization managing the WWTP utility.
INDICATOR SCORE | I1-I. Roles and responsibility | 25% | I1-II. Procedures | 25% | I1-III. Goals of the organization | 25% | I1-IV. Long-term goals | 25% | Notes:
| Factor w. | 1 | Factor w. | 1 | Factor w. | 1 | Factor w. | 1
| Are roles and responsibilities clear for the staff members within the organization and are they documented? | Score | Are there documented procedures available to manage the WWTP (e.g. financial plans, annual reports, O&M manuals etc.)? | Score | Are the goals of the organization clear for all staff members and are they documented? | Score | Are there long-term goals and a vision for the organization, and are they documented? | Score
0 |  | b |  | b |  | b |  | b
I2. Institutional capacity (higher level)
Objective: To clarify the roles and the level of support to the WWTP from higher level institutions: municipal, regional and national.
INDICATOR SCORE | I2-I. Clear roles | 50% | I2-II. External support | 50% | SUB-INDICATOR SCORE |  |  |  | Notes: | Sub-indicator weight
| Factor w. | 1 | Factor w. | 1
| Is the role of the higher-level institution clear in terms of its responsibilities regarding wastewater management, and are the responsibilities documented? | Score | Does the higher-level institution fulfil its role? | Score
0 | I2a. Municipal |  | I2a. Municipal |  | I2a. Municipal
|  | b |  | b | 0 |  |  |  |  | 1 | 33.33%
| I2b. Regional |  | I2b. Regional |  | I2b. Regional
|  | b |  | b | 0 |  |  |  |  | 1 | 33.33%
| I2c. National |  | I2c. National |  | I2c. National
|  | b |  | b | 0 |  |  |  |  | 1 | 33.33%
I3. Staff requirements (SR)
Objective: To achieve a high level of availability and expertise of the required staff of the WWTP.
INDICATOR SCORE | I3-I. Availability | 33.33% | I3-II. Level of expertise | 33.33% | I3-III. Long-term plan SR | 33.33% | SUB-INDICATOR SCORE |  | Notes: | Sub-indicator weight
| Factor w. | 1 | Factor w. | 1 | Factor w. | 1
| Are there staff available as required for optimal management of the WWTP? | Score | Do the staff members meet the expertise requirements for optimal management of the WWTP? | Score | If staff requirements are not met or only partly met in terms of availability and expertise, is there any long-term plan to improve the situation? | Score
0 | I3a. Operator | 33.33% | I3a. Operator | 33.33% | I3a. Operator | 33.33% | I3a. Operator
|  | b |  | b |  | b | 0 |  |  | 1 | 20%
| I3b. Engineer | 33.33% | I3b. Engineer | 33.33% | I3b. Engineer | 33.33% | I3b. Engineer
|  | b |  | b |  | b | 0 |  |  | 1 | 20%
| I3c. Communicator | 33.33% | I3c. Communicator | 33.33% | I3c. Communicator | 33.33% | I3c. Communicator
|  | b |  | b |  | b | 0 |  |  | 1 | 20%
| I3d. Accountant | 33.33% | I3d. Accountant | 33.33% | I3d. Accountant | 33.33% | I3d. Accountant
|  | b |  | b |  | b | 0 |  |  | 1 | 20%
| I3e. Manager | 33.33% | I3e. Manager | 33.33% | I3e. Manager | 33.33% | I3e. Manager
|  | b |  | b |  | b | 0 |  |  | 1 | 20%
I4. Employee satisfaction
Objective: To achieve a good working environment and salaries that are satisfactory for the employees.
INDICATOR SCORE | I4-I. Working conditions | 50% | I4-II. Salary level | 50% |  |  |  |  | Notes:
| Factor w. | 1 | Factor w. | 1
| Do staff have all the safety clothing, tools, and hygiene facilities required to perform their activities? | Score | Is the salary level satisfactory/reasonable for all employees? | Score
0 |  | b |  | b
I5. Communication
Objective: To effectively communicate information about the use of the sewer network and the performance of the WWTP utility with the costumers.
INDICATOR SCORE | I5-I. Use of sewer network services | 33.33% | I5-II. Wastewater utility performance | 33.33% | I5-III. Warnings regarding exposure risks | 33.33% |  |  | Notes:
| Factor w. | 1 | Factor w. | 1 | Factor w. | 1
| How frequently is information actively provided to customers about proper use of the sewer network? | Score | How frequently is open information provided to customers about the wastewater utility (e.g. performance, financial management, annual reports, etc.)? | Score | If poorly treated or untreated wastewater is discharged, are potential risks and protection measures communicated to people downstream or to farmers who reuse the effluent? | Score
0 |  | b |  | b |  | b

## I (hidden)
Institutional Indicators
I1. Institutional capacity (utility)
Score [Values & Colour-coded] | I1-I. Roles and responsibility | I1-II. Procedures | I1-III. Goals of the organization | I1-IV. Long-term goals
| Are roles and responsibilities clear for the staff members within the organization and are they documented? | Are there documented procedures available to manage the WWTP (e.g. financial plans, annual reports, O&M manuals etc.)? | Are the goals of the organization clear for all staff members and are they documented? | Are there long-term goals and a vision for the organization, and are they documented?
b
0 | No information | No information | No information | No information
1 | No | No | No | No
2 | Partly | Partly | Partly | Partly
3 | Yes | Yes | Yes | Yes
4 | Yes, and staff members are regularly informed | Yes, and staff members are regularly informed | Yes, and staff members are regularly informed | Yes, and staff members are regularly informed
I2. Institutional capacity (higher level)
Sub-Indicators: Municipal, Regional and National
Score [Values & Colour-coded] | I2-I. Clear roles | I2-II. External support
| Is the role of the higher-level institution clear in terms of its responsibilities regarding wastewater management, and are the responsibilities documented? | Does the higher-level institution fulfil its role?
b
0 | No information | No information
1 | No | No
2 | Partly | Sometimes
3 | Yes | Most of the time
4 | Yes, and managers are regularly informed | Always
I3. Staff requirements (SR)
Sub-Indicators: Operator, Engineer, Communicator, Accountant, Manager
Score [Values & Colour-coded] | I3-I. Availability | I3-II. Level of expertise | I3-III. Long-term plan SR
| Are there staff available as required for optimal management of the WWTP? | Do the staff members meet the expertise requirements for optimal management of the WWTP? | If staff requirements are not met or only partly met in terms of availability and expertise, is there any long-term plan to improve the situation?
b
0 | No information | No information | No information
1 | No | No | No
2 | Partly | Partly | Partly
3 | Yes | Yes | Yes
4 | Yes, and the number can be increased if necessary | Yes, and there are regular training events to improve their skills | Yes, and we have begun implementing it
n.r.
I4. Employee satisfaction
Score [Values & Colour-coded] | I4-I. Working conditions | I4-II. Salary level
| Do staff have all the safety clothing, tools, and hygiene facilities required to perform their activities? | Is the salary level satisfactory/reasonable for all employees?
b
0 | No information | No information
1 | No | No, all salaries are below the minimum wage
2 | Partly | Some salaries are below the minimum wage
3 | Yes | Yes, all salaries are above the minimum wage
4 | Yes, and safety procedures are documented | Yes, all salaries are above the minimum wage and revised each year according to staff performance
I5. Communication
Score [Values & Colour-coded] | I5-I. Use of sewer network services | I5-II. Wastewater utility performance | I5-III. Warnings regarding exposure risks
| How frequently is information actively provided to customers about proper use of the sewer network? | How frequently is open information provided to customers about the wastewater utility (e.g. performance, financial management, annual reports, etc.)? | If poorly treated or untreated wastewater is discharged, are potential risks and protection measures communicated to people downstream or to farmers who reuse the effluent?
b
0 | No information | No information | No information
1 | Never | Never | No
2 | Sometimes (once a year) | Sometimes (once a year) | Partly
3 | Often (once every 6 months) | Often (once every 6 months) | Yes
4 | Very often (once a month) and there is a website | There is a regularly updated website | Yes, and there is procedure in place

## INS-RES
RESULTS
INSTITUTIONAL INDICATORS
[20 empty] | INDICATORS | SCORES | 1 | % | DIMENSION SCORE
[20 empty] | I1. Institutional capacity (utility) | 0 | 1 | 20% | 0
[20 empty] | I2. Institutional capacity (higher level) | 0 | 1 | 20%
[20 empty] | I3. Staff requirements (SR) | 0 | 1 | 20%
[20 empty] | I4. Employee satisfaction | 0 | 1 | 20%
[20 empty] | I5. Communication | 0 | 1 | 20%
I1. Institutional capacity (utility) |  |  |  | 0 | [15 empty] | I1. Institutional capacity (utility) | 0 |  | I2. Institutional capacity (higher level) |  | 0 | I3. Staff requirements (SR) | 0 | I4. Employee satisfaction | 0 | I5. Communication | 0
[8 empty] | Number of factors scores |  |  |  |  | No. | Proportion of factors scores |  |  |  |  | check
I1-I. Roles and responsibility |  | I1-II. Procedures |  | I1-III. Goals of the organization |  | I1-IV. Long-term goals |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
0 | b | 0 | b | 0 | b | 0 | b | 4 | 0 | 0 | 0 | 0 | 4 | 100% | 0% | 0% | 0% | 0% | 100%
I2. Institutional capacity (higher level) |  |  |  | 0
[8 empty] | Number OF SUB-INDICATORS SCORES |  |  |  |  | No. | PROPORTION OF SUB-INDICATORS SCORES |  |  |  |  | check
Sub-indicators scores |  | I2-I. Clear roles |  | I2-II. External support |  |  |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
I2a. Municipal | 0 | 0 | b | 0 | b |  |  | 2 | 0 | 0 | 0 | 0 | 2 | 100% | 0% | 0% | 0% | 0% | 100%
I2b. Regional | 0 | 0 | b | 0 | b |  |  | 2 | 0 | 0 | 0 | 0 | 2 | 100% | 0% | 0% | 0% | 0% | 100%
I2c. National | 0 | 0 | b | 0 | b |  |  | 2 | 0 | 0 | 0 | 0 | 2 | 100% | 0% | 0% | 0% | 0% | 100%
I3. Staff requirements (SR) |  |  |  | 0
[8 empty] | Number OF SUB-INDICATORS SCORES |  |  |  |  | No. | PROPORTION OF SUB-INDICATORS SCORES |  |  |  |  | check
Sub-indicators scores |  | I3-I. Availability |  | I3-II. Level of expertise |  | I3-III. Long-term plan SR |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
I3a. Operator | 0 | 0 | b | 0 | b | 0 | b | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
I3b. Engineer | 0 | 0 | b | 0 | b | 0 | b | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
I3c. Communicator | 0 | 0 | b | 0 | b | 0 | b | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
I3d. Accountant | 0 | 0 | b | 0 | b | 0 | b | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
I3e. Manager | 0 | 0 | b | 0 | b | 0 | b | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
I4. Employee satisfaction |  |  |  | 0
[8 empty] | Number of factors scores |  |  |  |  | No. | Proportion of factors scores |  |  |  |  | check
I4-I. Working conditions |  | I4-II. Salary level | [5 empty] | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
0 | b | 0 | b |  |  |  |  | 2 | 0 | 0 | 0 | 0 | 2 | 100% | 0% | 0% | 0% | 0% | 100%
I5. Communication |  |  |  | 0
[8 empty] | Number of factors scores |  |  |  |  | No. | Proportion of factors scores |  |  |  |  | check
I5-I. Use of sewer network services |  | I5-II. Wastewater utility performance |  | I5-III. Warnings regarding exposure risks |  |  |  | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
0 | b | 0 | b | 0 | b |  |  | 3 | 0 | 0 | 0 | 0 | 3 | 100% | 0% | 0% | 0% | 0% | 100%
[8 empty] | All |  |  |  |  | No. | All |  |  |  |  | check
[8 empty] | 0 | 1 | 2 | 3 | 4 |  | 0 | 1 | 2 | 3 | 4
[8 empty] | 30 | 0 | 0 | 0 | 0 | 30 | 100% | 0% | 0% | 0% | 0% | 100%

## FINAL SCORES
SUSTAINABILITY ASSESSMENT RESULT
| DIMENSIONS | DIM. W.: | % | SCORES | OVERALL SCORE | TECHNICAL INDICATORS | Score | ENVIRONMENTAL INDICATORS | Score | SOCIAL INDICATORS | Score | ECONOMIC INDICATORS | Score | INSTITUTIONAL INDICATORS | Score
| TECHNICAL | 1 | 20% | 0 | 0 | T1. Removal efficiency (RE) | 0 | E1. Potential safe reuse (SR) | 0 | S1. Public health risk (PH) | 0 | EC1. Tariffs | 0 | I1. Institutional capacity (utility) | 0
| ENVIRONMENTAL | 1 | 20% | 0 |  | T2. Operation and maintenance (O&M) | 0 | E2. Eutrophication potential (EP) | 0 | S2. Public awareness (PA) | 0 | EC2. Operation and maintenance costs | 0 | I2. Institutional capacity (higher level) | 0
| SOCIAL | 1 | 20% | 0 |  | T3. Sewer network functionality (SEW) | 0 | E3. Effluent quality (EQ) | 0 | S3. Aesthetics (AES) | 0 | EC3. Affordability (AF) | 0 | I3. Staff requirements (SR) | 0
| ECONOMIC | 1 | 20% | 0 |  | T4. Reliability of the WWTP | 0 | E4. Energy | 0 | S4. Public acceptance (PACC) | 0 |  |  | I4. Employee satisfaction | 0
| INSTITUTIONAL | 1 | 20% | 0 |  |  |  | E5. Global warming potential | 0 |  |  |  |  | I5. Communication | 0
DESCRIPTIONS FOR THE RESULTS
0 | Not possible to assess | It is not possible to assess the level of sustainability due to due to lack of information. Please check the factors that were not possible to answer due to lack of data. Make a plan for how to prioritise the collection of data.
1 | UNSUSTAINABLE | The assessment of the current situation at the WWTP reveals that there are still many factors to act on in order for the WWTP to perform adequately in the long-run and consequently raise the level of sustainability. Please check the factors that received low scores and make a long-term plan on how to prioritise actions.
2 | LOW-SUSTAINABILITY | The assessment of the current situation at the WWTP reveals that some parts of the WWTP work well or moderately, but that there are still factors to act on in order for the WWTP to perform adequately in the long-run and consequently raise the level of sustainability. Keep up the good work on factors that received a high score and check the factors that received low scores. Make a plan on how to prioritise actions.
3 | MEDIUM-SUSTAINABILITY | The assessment of the current situation at the WWTP reveals that most parts of the WWTP works well. There are possibilities to raise the level of sustainability to an even higher level. Keep up the good work! Make sure to check the factors that received low scores and plan on how to prioritise actions.
4 | HIGH-SUSTAINABILITY | The assessment of the current situation at the WWTP reveals that almost all parts of the WWTP works very well. The green and efficient technology implemented is socially accepted, negative impacts on public health and the environment is minimised, and the institutional and financial capacity of the WWTP is high. Keep up the good work! Check any factors that received somewhat lower scores and make a plan on how to prioritise any actions needed.

## TO-DO LIST
No | SCORE | Code | INDICATOR | FACTOR | SUB-INDICATOR | QUESTION | ANSWER | SCORE | Factor weight | PRIORITIZATION OF ACTIONS
1 | b | T1a-I | T1. Removal efficiency (RE) | T1-I. Monitoring RE | T1a. BOD | How frequently do you monitor...in the influent and the effluent? | 0 | b | 1
2 | b | T1b-I | T1. Removal efficiency (RE) | T1-I. Monitoring RE | T1b. TSS | How frequently do you monitor...in the influent and the effluent? | 0 | b | 1
3 | b | T1c-I | T1. Removal efficiency (RE) | T1-I. Monitoring RE | T1c. TP | How frequently do you monitor...in the influent and the effluent? | 0 | b | 1
4 | b | T1d-I | T1. Removal efficiency (RE) | T1-I. Monitoring RE | T1d. TN | How frequently do you monitor...in the influent and the effluent? | 0 | b | 1
5 | b | T1e-I | T1. Removal efficiency (RE) | T1-I. Monitoring RE | T1e. FC | How frequently do you monitor...in the influent and the effluent? | 0 | b | 1
6 | b | T1a-II | T1. Removal efficiency (RE) | T1-II. Removal efficiency | T1a. BOD | What is the removal efficiency for …? | 0 | b | 2
7 | b | T1b-II | T1. Removal efficiency (RE) | T1-II. Removal efficiency | T1b. TSS | What is the removal efficiency for …? | 0 | b | 2
8 | b | T1c-II | T1. Removal efficiency (RE) | T1-II. Removal efficiency | T1c. TP | What is the removal efficiency for …? | 0 | b | 2
9 | b | T1d-II | T1. Removal efficiency (RE) | T1-II. Removal efficiency | T1d. TN | What is the removal efficiency for …? | 0 | b | 2
10 | b | T1e-II | T1. Removal efficiency (RE) | T1-II. Removal efficiency | T1e. FC | What is the removal efficiency for …? | 0 | b | 2
11 | b | T1a-III | T1. Removal efficiency (RE) | T1-III. Long-term plan RE | T1a. BOD | If the removal efficiency is low (equivalent to a score of 2 or lower), is there a long-term plan to improve it? | 0 | b | 1
12 | b | T1b-III | T1. Removal efficiency (RE) | T1-III. Long-term plan RE | T1b. TSS | If the removal efficiency is low (equivalent to a score of 2 or lower), is there a long-term plan to improve it? | 0 | b | 1
13 | b | T1c-III | T1. Removal efficiency (RE) | T1-III. Long-term plan RE | T1c. TP | If the removal efficiency is low (equivalent to a score of 2 or lower), is there a long-term plan to improve it? | 0 | b | 1
14 | b | T1d-III | T1. Removal efficiency (RE) | T1-III. Long-term plan RE | T1d. TN | If the removal efficiency is low (equivalent to a score of 2 or lower), is there a long-term plan to improve it? | 0 | b | 1
15 | b | T1e-III | T1. Removal efficiency (RE) | T1-III. Long-term plan RE | T1e. FC | If the removal efficiency is low (equivalent to a score of 2 or lower), is there a long-term plan to improve it? | 0 | b | 1
16 | b | T2a-I | T2. Operation and maintenance (O&M) | T2-I. Manuals | T2a. Pre-treatment | Is there a manual available with clear instructions on how to operate and maintain the … optimally? | 0 | b | 1
17 | b | T2b-I | T2. Operation and maintenance (O&M) | T2-I. Manuals | T2b. Primary treatment | Is there a manual available with clear instructions on how to operate and maintain the … optimally? | 0 | b | 1
18 | b | T2c-I | T2. Operation and maintenance (O&M) | T2-I. Manuals | T2c. Secondary treatment | Is there a manual available with clear instructions on how to operate and maintain the … optimally? | 0 | b | 1
19 | b | T2d-I | T2. Operation and maintenance (O&M) | T2-I. Manuals | T2d. Tertiary treatment | Is there a manual available with clear instructions on how to operate and maintain the … optimally? | 0 | b | 1
20 | b | T2e-I | T2. Operation and maintenance (O&M) | T2-I. Manuals | T2e. Disinfection | Is there a manual available with clear instructions on how to operate and maintain the … optimally? | 0 | b | 1
21 | b | T2a-II | T2. Operation and maintenance (O&M) | T2-II. Short-term O&M | T2a. Pre-treatment | Have all the requirements for optimal short-term O&M been fulfilled? | 0 | b | 1
22 | b | T2b-II | T2. Operation and maintenance (O&M) | T2-II. Short-term O&M | T2b. Primary treatment | Have all the requirements for optimal short-term O&M been fulfilled? | 0 | b | 1
23 | b | T2c-II | T2. Operation and maintenance (O&M) | T2-II. Short-term O&M | T2c. Secondary treatment | Have all the requirements for optimal short-term O&M been fulfilled? | 0 | b | 1
24 | b | T2d-II | T2. Operation and maintenance (O&M) | T2-II. Short-term O&M | T2d. Tertiary treatment | Have all the requirements for optimal short-term O&M been fulfilled? | 0 | b | 1
25 | b | T2e-II | T2. Operation and maintenance (O&M) | T2-II. Short-term O&M | T2e. Disinfection | Have all the requirements for optimal short-term O&M been fulfilled? | 0 | b | 1
26 | b | T2a-III | T2. Operation and maintenance (O&M) | T2-III. Long-term maintenance | T2a. Pre-treatment | Have all the requirements for optimal long-term maintenance been fulfilled? | 0 | b | 1
27 | b | T2b-III | T2. Operation and maintenance (O&M) | T2-III. Long-term maintenance | T2b. Primary treatment | Have all the requirements for optimal long-term maintenance been fulfilled? | 0 | b | 1
28 | b | T2c-III | T2. Operation and maintenance (O&M) | T2-III. Long-term maintenance | T2c. Secondary treatment | Have all the requirements for optimal long-term maintenance been fulfilled? | 0 | b | 1
29 | b | T2d-III | T2. Operation and maintenance (O&M) | T2-III. Long-term maintenance | T2d. Tertiary treatment | Have all the requirements for optimal long-term maintenance been fulfilled? | 0 | b | 1
30 | b | T2e-III | T2. Operation and maintenance (O&M) | T2-III. Long-term maintenance | T2e. Disinfection | Have all the requirements for optimal long-term maintenance been fulfilled? | 0 | b | 1
31 | b | T3-I | T3. Sewer network functionality (SEW) | T3-I. Coverage | - | What is the coverage of the sewer service? | 0 | b | 2
32 | b | T3-II | T3. Sewer network functionality (SEW) | T3.-II Design | - | Is the infrastructure designed to prevent blockages and overflows? | 0 | b | 2
33 | b | T3-III | T3. Sewer network functionality (SEW) | T3-III. Breakdown | - | How often does wastewater overflow or are properties flooded due to sewer material failure? | 0 | b | 1
34 | b | T3-IV | T3. Sewer network functionality (SEW) | T3-IV. Hydraulic loading | - | How often does wastewater overflow or are properties flooded due to too much water in the network? | 0 | b | 2
35 | b | T3-V | T3. Sewer network functionality (SEW) | T3-V. Clogging | - | How often does wastewater overflow or are properties flooded due to clogging in the network? | 0 | b | 1
36 | b | T3-VI | T3. Sewer network functionality (SEW) | T3-VI. Long-term plan SEW | - | If there are issues with the sewer network, is there a long-term plan to improve it? | 0 | b | 1
37 | b | T4-I | T4. Reliability of the WWTP | T4-I. Design of the WWTP | - | Is there a bypass or storage tank to manage overflows or large organic loading? | 0 | b | 2
38 | b | T4-II | T4. Reliability of the WWTP | T4-II. Breakdown | - | How often is wastewater not treated due to material failure? | 0 | b | 1
39 | b | T4-III | T4. Reliability of the WWTP | T4-III. Hydraulic loading | - | How often is wastewater not treated due to high hydraulic loading? | 0 | b | 2
40 | b | T4-IV | T4. Reliability of the WWTP | T4-IV. Organic loading | - | How often is wastewater not treated due to high organic loading? | 0 | b | 1
41 | b | T4-V | T4. Reliability of the WWTP | T4-V. Long-term plan WWTP | - | If there are issues with the capacity or construction of the WWTP, is there a long-term plan to improve it? | 0 | b | 1
42 | b | E1a-I | E1. Potential safe reuse (SR) | E1-I. Reuse practice | E1a.Water | Is there a reuse practice of the ...? | 0 | b | 1
43 | b | E1b-I | E1. Potential safe reuse (SR) | E1-I. Reuse practice | E1b. Sludge | Is there a reuse practice of the ...? | 0 | b | 1
44 | b | E1a-II | E1. Potential safe reuse (SR) | E1-II. Monitoring SR | E1a.Water | How frequently do you monitor the quality of the … that is reused? | 0 | b | 1
45 | b | E1b-II | E1. Potential safe reuse (SR) | E1-II. Monitoring SR | E1b. Sludge | How frequently do you monitor the quality of the … that is reused? | 0 | b | 1
46 | b | E1a-III | E1. Potential safe reuse (SR) | E1-III. Safe reuse limits | E1a.Water | If you monitor, do the results comply with the limits for safe reuse? Water: 3 log units UFC/L for FC Sludge: 1 egg/g of total dry solids | 0 | b | 2
47 | b | E1b-III | E1. Potential safe reuse (SR) | E1-III. Safe reuse limits | E1b. Sludge | If you monitor, do the results comply with the limits for safe reuse? Water: 3 log units UFC/L for FC Sludge: 1 egg/g of total dry solids | 0 | b | 2
48 | b | E1a-IV | E1. Potential safe reuse (SR) | E1-IV. Long-term plan SR | E1a.Water | If limits are not met in at least 70% of the samples for ..., is there a plan to improve the quality of the effluent? | 0 | b | 1
49 | b | E1b-IV | E1. Potential safe reuse (SR) | E1-IV. Long-term plan SR | E1b. Sludge | If limits are not met in at least 70% of the samples for ..., is there a plan to improve the quality of the effluent? | 0 | b | 1
50 | b | E2a-I | E2. Eutrophication potential (EP) | E2-I. Monitoring EP | E2a. TN | How frequently do you monitor...in the effluent? | 0 | b | 1
51 | b | E2b-I | E2. Eutrophication potential (EP) | E2-I. Monitoring EP | E2b. TP | How frequently do you monitor...in the effluent? | 0 | b | 1
52 | b | E2a-II | E2. Eutrophication potential (EP) | E2-II. Eutrophication potential | E2a. TN | If you monitor, do the results comply with the limits (15 mg/L for TN and 2 mg/L for TP)? For more frequent monitoring (at least once a month), it is sufficient that the annual mean value reaches the limits. For less frequent monitoring, each individual observation needs to be considered. | 0 | b | 2
53 | b | E2b-II | E2. Eutrophication potential (EP) | E2-II. Eutrophication potential | E2b. TP | If you monitor, do the results comply with the limits (15 mg/L for TN and 2 mg/L for TP)? For more frequent monitoring (at least once a month), it is sufficient that the annual mean value reaches the limits. For less frequent monitoring, each individual observation needs to be considered. | 0 | b | 2
54 | b | E2a-III | E2. Eutrophication potential (EP) | E2-III. Long-term plan EP | E2a. TN | If limits are not met in at least 70% of the samples for…, is there a long-term plan to upgrade the treatment processes? | 0 | b | 1
55 | b | E2b-III | E2. Eutrophication potential (EP) | E2-III. Long-term plan EP | E2b. TP | If limits are not met in at least 70% of the samples for…, is there a long-term plan to upgrade the treatment processes? | 0 | b | 1
56 | b | E3a-I | E3. Effluent quality (EQ) | E3-I. Monitoring QE | E3a. BOD | How frequently do you monitor...in the effluent? | 0 | b | 1
57 | b | E3b-I | E3. Effluent quality (EQ) | E3-I. Monitoring QE | E3b. TSS | How frequently do you monitor...in the effluent? | 0 | b | 1
58 | b | E3a-II | E3. Effluent quality (EQ) | E3-II. Discharge limits | E3a. BOD | If you monitor, do the results comply with the limits for safe discharge (80mg/L for BOD and 60 mg/L for TSS)? For more frequent monitoring (at least once a month), it is sufficient that the annual mean value reaches the limits. For less frequent monitoring, each individual observation needs to be considered. | 0 | b | 2
59 | b | E3b-II | E3. Effluent quality (EQ) | E3-II. Discharge limits | E3b. TSS | If you monitor, do the results comply with the limits for safe discharge (80mg/L for BOD and 60 mg/L for TSS)? For more frequent monitoring (at least once a month), it is sufficient that the annual mean value reaches the limits. For less frequent monitoring, each individual observation needs to be considered. | 0 | b | 2
60 | b | E3a-III | E3. Effluent quality (EQ) | E3-III. Long-term plan QE | E3a. BOD | If limits are not met in at least 70% of the samples for ..., is there a long-term plan to improve the quality of the effluent? | 0 | b | 1
61 | b | E3b-III | E3. Effluent quality (EQ) | E3-III. Long-term plan QE | E3b. TSS | If limits are not met in at least 70% of the samples for ..., is there a long-term plan to improve the quality of the effluent? | 0 | b | 1
62 | b | E4-I | E4. Energy | E4-I. Energy saving programme | - | Do you have an implemented plan to save energy at the WWTP? | 0 | b | 1
63 | b | E4-II | E4. Energy | E4-II. Renewable energy | - | Do you reuse the energy generated by the treatment processes (i.e. biogas)? | 0 | b | 1
64 | b | E5-I | E5. Global warming potential | E5-I. Emissions reduction | - | Do you have an implemented programme to reduce emissions? | 0 | b | -
65 | b | S1-I | S1. Public health risk (PH) | S1-I. Exposure | - | Are there events involving discharge of poorly treated wastewater or overflow of untreated wastewater? | 0 | b | 2
66 | b | S1-II | S1. Public health risk (PH) | S1-II. Claims | - | How frequently have there been claims that people or animals in the surrounding area have been negatively affected by the WWTP or its discharge? | 0 | b | 1
67 | b | S1-III | S1. Public health risk (PH) | S1-III. Long-term plan PH | - | If there are known events involving discharge of poorly treated wastewater or overflow of untreated wastewater more frequently than once a year, or if there are claims at least once a year, is there any long-term plan to reduce the risk? | 0 | b | 1
68 | b | S2-I | S2. Public awareness (PA) | S2-I. Ecological concerns | - | How would you rate the level of public awareness of the need for the WWTP to protect ecosystems? | 0 | b | 1
69 | b | S2-II | S2. Public awareness (PA) | S2-II: Public health concerns | - | How would you rate the level of public awareness of the need for the WWTP to protect public health? | 0 | b | 1
70 | b | S2-III | S2. Public awareness (PA) | S2-III. Use of services | - | How would you rate the level of public awareness of adequate use of the sewer network? | 0 | b | 1
71 | b | S2-IV | S2. Public awareness (PA) | S2-IV. Long-term plan PA | - | If public awareness is low or very low in any respect, is there any long-term plan to raise it? | 0 | b | 1
72 | b | S3a-I | S3. Aesthetics (AES) | S3-I. Perception | S3a. Smell | Is there information about the nuisance level for customers caused by the WWTP? | 0 | b | 1
73 | b | S3b-I | S3. Aesthetics (AES) | S3-I. Perception | S3b. Noise | Is there information about the nuisance level for customers caused by the WWTP? | 0 | b | 1
74 | b | S3c-I | S3. Aesthetics (AES) | S3-I. Perception | S3c. Visual impact | Is there information about the nuisance level for customers caused by the WWTP? | 0 | b | 1
75 | b | S3a-II | S3. Aesthetics (AES) | S3-II. Nuisance level | S3a. Smell | What is the actual nuisance level for customers? | 0 | b | 2
76 | b | S3b-II | S3. Aesthetics (AES) | S3-II. Nuisance level | S3b. Noise | What is the actual nuisance level for customers? | 0 | b | 2
77 | b | S3c-II | S3. Aesthetics (AES) | S3-II. Nuisance level | S3c. Visual impact | What is the actual nuisance level for customers? | 0 | b | 2
78 | b | S3a-III | S3. Aesthetics (AES) | S3-III. Long-term plan AES | S3a. Smell | If the nuisance level is medium or high, is there any long-term plan to reduce it? | 0 | b | 1
79 | b | S3b-III | S3. Aesthetics (AES) | S3-III. Long-term plan AES | S3b. Noise | If the nuisance level is medium or high, is there any long-term plan to reduce it? | 0 | b | 1
80 | b | S3c-III | S3. Aesthetics (AES) | S3-III. Long-term plan AES | S3c. Visual impact | If the nuisance level is medium or high, is there any long-term plan to reduce it? | 0 | b | 1
81 | b | S4-I | S4. Public acceptance (PACC) | S4-I. Location of the WWTP | - | Are there people opposed to the location of the WWTP? | 0 | b | 1
82 | b | S4-II | S4. Public acceptance (PACC) | S4-II. Reuse practice | - | Are there people opposed to the practice of reusing wastewater? | 0 | b | 1
83 | b | S4-III | S4. Public acceptance (PACC) | S4-III. Long-term plan PACC | - | If there is opposition or opposition in part to the location of the WWTP, or to reuse practices, is there a long-term plan to increase public acceptance? | 0 | b | 1
84 | b | EC1-I | EC1. Tariffs | EC1-I. Tariff structure | - | Are there clear rules and procedures in place on how to charge different customer categories? | 0 | b | 1
85 | b | EC1-II | EC1. Tariffs | EC1-II. Documentation | - | Is there documentation available on the financial management of the WWTP? | 0 | b | 1
86 | b | EC1-III | EC1. Tariffs | EC1-III. Follow-up | - | Is there a follow-up system to ensure the tariff structure is correct over time? | 0 | b | 1
87 | b | EC2-I | EC2. Operation and maintenance costs | EC2-I. Economic requirements | - | Are there sufficient funds to implement optimal operation and maintenance? | 0 | b | 1
88 | b | EC2-II | EC2. Operation and maintenance costs | EC2-II. Long-term investment | - | Have funds been allocated for long-term investments? | 0 | b | 1
89 | b | EC2-III | EC2. Operation and maintenance costs | EC2-III. Long-term plan OM | - | If no funds are available to implement optimal O&M or allocated for long-term investment, or if this has only been done in part, is there any long-term plan to cover what is required? | 0 | b | 1
90 | b | EC3-I | EC3. Affordability (AF) | EC3-I. Payment of tariffs | - | What percentage of customers pay their tariffs on time? | 0 | b | 1
91 | b | EC3-II | EC3. Affordability (AF) | EC3-II. Payment capacity | - | Is the payment capacity of customers known? | 0 | b | 1
92 | b | EC3-III | EC3. Affordability (AF) | EC3-III. Strategy AF | - | Is there any strategy in place to make the service affordable to everyone, e.g. through subsidies or a tariff differentiated according to level of income, or is there the possibility of paying in-kind? | 0 | b | 1
93 | b | I1-I | I1. Institutional capacity (utility) | I1-I. Roles and responsibility | - | Are roles and responsibilities clear for the staff members within the organization and are they documented? | 0 | b | 1
94 | b | I1-II | I1. Institutional capacity (utility) | I1-II. Procedures | - | Are there documented procedures available to manage the WWTP (e.g. financial plans, annual reports, O&M manuals etc.)? | 0 | b | 1
95 | b | I1-III | I1. Institutional capacity (utility) | I1-III. Goals of the organization | - | Are the goals of the organization clear for all staff members and are they documented? | 0 | b | 1
96 | b | I1-IV | I1. Institutional capacity (utility) | I1-IV. Long-term goals | - | Are there long-term goals and a vision for the organization, and are they documented? | 0 | b | 1
97 | b | I2a-I | I2. Institutional capacity (higher level) | I2-I. Clear roles | I2a. Municipal | Is the role of the higher-level institution clear in terms of its responsibilities regarding wastewater management, and are the responsibilities documented? | 0 | b | 1
98 | b | I2b-I | I2. Institutional capacity (higher level) | I2-I. Clear roles | I2b. Regional | Is the role of the higher-level institution clear in terms of its responsibilities regarding wastewater management, and are the responsibilities documented? | 0 | b | 1
99 | b | I2c-I | I2. Institutional capacity (higher level) | I2-I. Clear roles | I2c. National | Is the role of the higher-level institution clear in terms of its responsibilities regarding wastewater management, and are the responsibilities documented? | 0 | b | 1
100 | b | I2a-II | I2. Institutional capacity (higher level) | I2-II. External support | I2a. Municipal | Does the higher-level institution fulfil its role? | 0 | b | 1
101 | b | I2b-II | I2. Institutional capacity (higher level) | I2-II. External support | I2b. Regional | Does the higher-level institution fulfil its role? | 0 | b | 1
102 | b | I2c-II | I2. Institutional capacity (higher level) | I2-II. External support | I2c. National | Does the higher-level institution fulfil its role? | 0 | b | 1
103 | b | I3a-I | I3. Staff requirements (SR) | I3-I. Availability | I3a. Operator | Are there staff available as required for optimal management of the WWTP? | 0 | b | 1
104 | b | I3b-I | I3. Staff requirements (SR) | I3-I. Availability | I3b. Engineer | Are there staff available as required for optimal management of the WWTP? | 0 | b | 1
105 | b | I3c-I | I3. Staff requirements (SR) | I3-I. Availability | I3c. Communicator | Are there staff available as required for optimal management of the WWTP? | 0 | b | 1
106 | b | I3d-I | I3. Staff requirements (SR) | I3-I. Availability | I3d. Accountant | Are there staff available as required for optimal management of the WWTP? | 0 | b | 1
107 | b | I3e-I | I3. Staff requirements (SR) | I3-I. Availability | I3e. Manager | Are there staff available as required for optimal management of the WWTP? | 0 | b | 1
108 | b | I3a-II | I3. Staff requirements (SR) | I3-II. Level of expertise | I3a. Operator | Do the staff members meet the expertise requirements for optimal management of the WWTP? | 0 | b | 1
109 | b | I3b-II | I3. Staff requirements (SR) | I3-II. Level of expertise | I3b. Engineer | Do the staff members meet the expertise requirements for optimal management of the WWTP? | 0 | b | 1
110 | b | I3c-II | I3. Staff requirements (SR) | I3-II. Level of expertise | I3c. Communicator | Do the staff members meet the expertise requirements for optimal management of the WWTP? | 0 | b | 1
111 | b | I3d-II | I3. Staff requirements (SR) | I3-II. Level of expertise | I3d. Accountant | Do the staff members meet the expertise requirements for optimal management of the WWTP? | 0 | b | 1
112 | b | I3e-II | I3. Staff requirements (SR) | I3-II. Level of expertise | I3e. Manager | Do the staff members meet the expertise requirements for optimal management of the WWTP? | 0 | b | 1
113 | b | I3a-III | I3. Staff requirements (SR) | I3-III. Long-term plan SR | I3a. Operator | If staff requirements are not met or only partly met in terms of availability and expertise, is there any long-term plan to improve the situation? | 0 | b | 1
114 | b | I3b-III | I3. Staff requirements (SR) | I3-III. Long-term plan SR | I3b. Engineer | If staff requirements are not met or only partly met in terms of availability and expertise, is there any long-term plan to improve the situation? | 0 | b | 1
115 | b | I3c-III | I3. Staff requirements (SR) | I3-III. Long-term plan SR | I3c. Communicator | If staff requirements are not met or only partly met in terms of availability and expertise, is there any long-term plan to improve the situation? | 0 | b | 1
116 | b | I3d-III | I3. Staff requirements (SR) | I3-III. Long-term plan SR | I3d. Accountant | If staff requirements are not met or only partly met in terms of availability and expertise, is there any long-term plan to improve the situation? | 0 | b | 1
117 | b | I3e-III | I3. Staff requirements (SR) | I3-III. Long-term plan SR | I3e. Manager | If staff requirements are not met or only partly met in terms of availability and expertise, is there any long-term plan to improve the situation? | 0 | b | 1
118 | b | I4-I | I4. Employee satisfaction | I4-I. Working conditions | - | Do staff have all the safety clothing, tools, and hygiene facilities required to perform their activities? | 0 | b | 1
119 | b | I4-II | I4. Employee satisfaction | I4-II. Salary level | - | Is the salary level satisfactory/reasonable for all employees? | 0 | b | 1
120 | b | I5-I | I5. Communication | I5-I. Use of sewer network services | - | How frequently is information actively provided to customers about proper use of the sewer network? | 0 | b | 1
121 | b | I5-II | I5. Communication | I5-II. Wastewater utility performance | - | How frequently is open information provided to customers about the wastewater utility (e.g. performance, financial management, annual reports, etc.)? | 0 | b | 1
122 | b | I5-III | I5. Communication | I5-III. Warnings regarding exposure risks | - | If poorly treated or untreated wastewater is discharged, are potential risks and protection measures communicated to people downstream or to farmers who reuse the effluent? | 0 | b | 1

## BAR -GRAPHS (hidden)
PROPORTION OF FACTOR SCORES
| 0 | 1 | 2 | 3 | 4
Technical dimension: | 100% | 0% | 0% | 0% | 0% | 100%
Envrionmental dimension: | 100% | 0% | 0% | 0% | 0% | 100%
Social dimension: | 100% | 0% | 0% | 0% | 0% | 100%
Economic dimension: | 100% | 0% | 0% | 0% | 0% | 100%
Institutional dimension: | 100% | 0% | 0% | 0% | 0% | 100%